LABORATORY REPORT: EXPERIMENT 2

Verification of Ohm's Law and Series-Parallel Circuits

1. Objectives

To experimentally verify Ohm's Law (V = IR) by measuring voltage and current relationships.

To analyze the distribution of current and voltage in basic series and parallel circuits.

2. Apparatus and Equipment

DC Power Supply: 0-15V adjustable source.

Digital Multimeter (DMM): Used for measuring voltage, current, and resistance.

Resistors: Fixed values (100Ω, 220Ω, and 470Ω).

Breadboard & Breadboard Wires: For solderless circuit assembly.

3. Theoretical Background

Ohm's Law states that the current passing through a conductor between two points is directly proportional to the voltage across the two points, provided the temperature remains constant. Mathematically, it is expressed as:

V = I × R

In a series circuit, total resistance is the sum of individual resistances, and current remains constant. In a parallel circuit, voltage across components remains constant, and total conductance is the sum of individual conductances.

4. Experimental Data and Results

Table 2.1 shows the recorded voltage values against measured current across a 100Ω baseline resistor.

| Trial # | Target Voltage (V) | Measured Current (mA) | Calculated Resistance (Ω) |
| --- | --- | --- | --- |
| 1 | 2.0 V | 20.1 mA | 99.5 Ω |
| 2 | 4.0 V | 39.8 mA | 100.5 Ω |
| 3 | 6.0 V | 60.2 mA | 99.7 Ω |
| 4 | 8.0 V | 79.9 mA | 100.1 Ω |

5. Discussion & Conclusion

The experimental data strongly aligns with the theoretical parameters of Ohm's Law. Minor variances observed in the calculated resistance values (within ±0.5%) can be directly attributed to internal component tolerances, multimeter calibration thresholds, and ambient thermal variations during active circuit cycles. The objective of verifying linear electrical behavior was successfully met.